## Cover
40 MW Hyperscale-Ready Data Centre
Behind-the-Meter 90 MWp Solar PV + 60 MWh BESS ¦ Greater Accra, Ghana
Project Finance Model — Reporting Currency: USD
ACTIVE SCENARIO | Scenario Key Changes
Base Case | Best: Utilisation +10pts, Capacity chg +8%, Solar yield +7%, Capex -7%, Rate -0.75%, PUE 1.18 ¦ Worst: Utilisation -15pts, Capacity chg -10%, Solar yield=P90, Capex +12%, Rate +1.25%, PUE 1.35, higher curtailment
KEY OUTPUTS (live — updates with Scenario)
EQUITY IRR | EQUITY NPV @12% | EQUITY MULTIPLE | MIN DSCR
-11.52% | -268842064.4494 | 0.2655 | 1.35
AVG DSCR | GEARING (ACTUAL) | TOTAL PROJECT COST | COD
1.35 | 35.83% | 507858475.6019 | 2028-07-01
Project Summary
IT Capacity | 40 MW
Design PUE (Base) | 1.25
Construction Period | 24 months
Target COD | 1 July 2028
Offtake Structure | 15-yr take-or-pay, 85% contracted / 15% spot
Solar PV | 90 MWp single-axis tracking
BESS | 60 MWh (4-hr), 90% RTE
Senior Debt | Sculpted to min. 1.35x DSCR, target 65% gearing
Navigation: Assumptions ¦ Timing & Calendar ¦ Construction ¦ Operations ¦ Debt & Financing ¦ Cash Flow Waterfall ¦ Reserves ¦ Outputs & Dashboard ¦ Sensitivities & Scenarios ¦ Checks-Audit ¦ Appendix-Glossary ¦ Charts

## Assumptions
ASSUMPTIONS — All Base/Best/Worst cases editable (blue). "Active" column drives the entire model.
| Active Scenario: | Base Case
| Assumption | Base Case | Best Case | Worst Case | Active | Notes / Source
DATA CENTRE
| IT Capacity (MW) | 40 | 40 | 40 | 40 | Fixed nameplate IT capacity — user brief
| Design PUE | 1.25 | 1.18 | 1.35 | 1.25 | Best/Worst per brief
| Utilisation — Year 1 | 55% | 65% | 40% | 55% | Best +10pts / Worst -15pts vs Base
| Utilisation — Year 2 | 75% | 85% | 60% | 75% | Best +10pts / Worst -15pts vs Base
| Utilisation — Year 3+ | 90% | 100% | 75% | 90% | Best +10pts / Worst -15pts vs Base
| Capacity Charge ($/kW-month) | 18.5 | 19.98 | 16.65 | 18.5 | Best +8% / Worst -10%
| Energy Charge ($/kWh) | 0.155 | 0.155 | 0.155 | 0.155 | Set above blended renewable+grid-backup supply cost (~$0.06-0.14/kWh) plus margin, per brief; flat — not specified to vary by scenario
| Take-or-Pay Contracted Share | 85% | 85% | 85% | 85% | 85% take-or-pay per brief; residual on spot
| Grid Backup / Top-Up Price ($/kWh) | 0.14 | 0.14 | 0.16 | 0.14 | Shortfall energy not met by dedicated renewables
RENEWABLE POWER SYSTEM (90 MWp Solar + 60 MWh BESS)
| Solar Capacity (MWp) | 90 | 90 | 90 | 90 | Single-axis tracking — fixed
| Specific Yield P50 (kWh/kWp/yr) | 1680 | 1797.6 | 1520 | 1680 | Best +7% / Worst = P90 (1,520)
| Annual Degradation | 0.5% | 0.5% | 0.5% | 0.5% | Flat across scenarios
| Curtailment / Clipping | 3% | 2.5% | 6% | 3% | Worst: higher curtailment per brief
| BESS Capacity (MWh) | 60 | 60 | 60 | 60 | 4-hr equivalent — fixed
| BESS Round-Trip Efficiency | 90% | 90% | 90% | 90% | Flat across scenarios
| Share of Generation Cycled via BESS | 30% | 30% | 30% | 30% | Modelling assumption for RTE loss netting
| BESS Life (years, pre-augmentation) | 15 | 15 | 15 | 15 | With augmentation per brief
| BESS Augmentation Capex (% of RE Capex) | 20% | 20% | 20% | 20% | Modelling assumption — mid-life augmentation event
| Augmentation Event — Operating Period # | 16 | 16 | 16 | 16 | ~Year 8 (mid-BESS-life)
COSTS
| Data Centre Capex ($m per IT MW) | 9.5 | 8.835 | 10.64 | 9.5 | Best -7% / Worst +12%
| Solar + BESS Capex ($m per MWp) | 1.15 | 1.0695 | 1.288 | 1.15 | Best -7% / Worst +12%
| Data Centre O&M ($k per IT MW p.a.) | 180 | 180 | 180 | 180 | Flat across scenarios
| Solar+BESS O&M ($k per MW p.a.) | 18 | 18 | 18 | 18 | Flat across scenarios
| Land Lease & Security ($k p.a.) | 350 | 350 | 350 | 350 | Flat across scenarios
FINANCING
| Debt Tenor (years from COD) | 15 | 15 | 15 | 15 | Fixed
| All-in Interest Rate | 7.75% | 7% | 9% | 7.75% | Best -0.75pts / Worst +1.25pts
| Upfront Fee | 1.75% | 1.75% | 1.75% | 1.75% | Flat across scenarios
| DSRA (months of debt service) | 6 | 6 | 6 | 6 | Flat across scenarios
| Target Minimum DSCR | 1.35 | 1.35 | 1.35 | 1.35 | Sculpting target
| Target Gearing | 65% | 65% | 65% | 65% | Cap on debt as % of hard capex
| Circularity Breaker (1=on) | 1 | 1 | 1 | 1 | ON: tax excludes interest deductibility to avoid circularity without iterative calc. Set to 0 and enable Excel iterative calc for full precision.
MACRO & TAX
| USD Inflation | 2.2% | 2.2% | 2.2% | 2.2% | Flat across scenarios
| Corporate Tax Rate (Ghana) | 25% | 25% | 25% | 25% | Flat across scenarios
| Tax Depreciation Life — Data Centre (yrs) | 11 | 11 | 11 | 11 | Straight-line, mid-point of 10-12yr range
| Tax Depreciation Life — Renewable (yrs) | 12 | 12 | 12 | 12 | Straight-line per brief
| Equity Discount Rate | 12% | 12% | 12% | 12% | Flat across scenarios
TIMING
| Construction Start Date | 2026-07-01 |  |  | 2026-07-01
| Target COD | 2028-07-01 |  |  | 2028-07-01
| Construction Period (months) | 24 |  |  | 24
| Operating Periods (semi-annual) | 30 |  |  | 30
Formulas:
Active = [Base Case]

## Timing & Calendar
TIMING & CALENDAR — Master date axis driving Construction, Operations, Debt, Waterfall and Reserves
CONSTRUCTION CALENDAR (Monthly, Month 1 = Construction Start)
| Month # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| Month Start Date | 2026-07-01 | 2026-08-01 | 2026-09-01 | 2026-10-01 | 2026-11-01 | 2026-12-01 | 2027-01-01 | 2027-02-01 | 2027-03-01 | 2027-04-01 | 2027-05-01 | 2027-06-01 | 2027-07-01 | 2027-08-01 | 2027-09-01 | 2027-10-01 | 2027-11-01 | 2027-12-01 | 2028-01-01 | 2028-02-01 | 2028-03-01 | 2028-04-01 | 2028-05-01 | 2028-06-01
| Month End Date | 2026-07-31 | 2026-08-31 | 2026-09-30 | 2026-10-31 | 2026-11-30 | 2026-12-31 | 2027-01-31 | 2027-02-28 | 2027-03-31 | 2027-04-30 | 2027-05-31 | 2027-06-30 | 2027-07-31 | 2027-08-31 | 2027-09-30 | 2027-10-31 | 2027-11-30 | 2027-12-31 | 2028-01-31 | 2028-02-29 | 2028-03-31 | 2028-04-30 | 2028-05-31 | 2028-06-30
| Days in Month | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 29 | 31 | 30 | 31 | 30
OPERATIONS CALENDAR (Semi-Annual, Period 1 begins at COD)
| Period # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Period Start Date | 2028-07-01 | 2029-01-01 | 2029-07-01 | 2030-01-01 | 2030-07-01 | 2031-01-01 | 2031-07-01 | 2032-01-01 | 2032-07-01 | 2033-01-01 | 2033-07-01 | 2034-01-01 | 2034-07-01 | 2035-01-01 | 2035-07-01 | 2036-01-01 | 2036-07-01 | 2037-01-01 | 2037-07-01 | 2038-01-01 | 2038-07-01 | 2039-01-01 | 2039-07-01 | 2040-01-01 | 2040-07-01 | 2041-01-01 | 2041-07-01 | 2042-01-01 | 2042-07-01 | 2043-01-01
| Period End Date | 2028-12-31 | 2029-06-30 | 2029-12-31 | 2030-06-30 | 2030-12-31 | 2031-06-30 | 2031-12-31 | 2032-06-30 | 2032-12-31 | 2033-06-30 | 2033-12-31 | 2034-06-30 | 2034-12-31 | 2035-06-30 | 2035-12-31 | 2036-06-30 | 2036-12-31 | 2037-06-30 | 2037-12-31 | 2038-06-30 | 2038-12-31 | 2039-06-30 | 2039-12-31 | 2040-06-30 | 2040-12-31 | 2041-06-30 | 2041-12-31 | 2042-06-30 | 2042-12-31 | 2043-06-30
| Months in Period | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
| Operating Year # | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15
| Years Since COD (period start) | 0 | 0.50376 | 0.99932 | 1.5031 | 1.9986 | 2.5024 | 2.9979 | 3.5017 | 4 | 4.5038 | 4.9993 | 5.5031 | 5.9986 | 6.5024 | 6.9979 | 7.5017 | 8 | 8.5038 | 8.9993 | 9.5031 | 9.9986 | 10.5024 | 10.9979 | 11.5017 | 12 | 12.5038 | 12.9993 | 13.5031 | 13.9986 | 14.5024
| Inflation Escalation Factor | 1 | 1.011 | 1.022 | 1.0333 | 1.0445 | 1.056 | 1.0674 | 1.0792 | 1.0909 | 1.103 | 1.1149 | 1.1272 | 1.1394 | 1.152 | 1.1645 | 1.1773 | 1.1902 | 1.2033 | 1.2163 | 1.2297 | 1.2431 | 1.2568 | 1.2704 | 1.2844 | 1.2984 | 1.3127 | 1.327 | 1.3416 | 1.3561 | 1.3711
| Solar Degradation Factor | 1 | 0.99748 | 0.995 | 0.99249 | 0.99003 | 0.98753 | 0.98509 | 0.9826 | 0.98015 | 0.97768 | 0.97525 | 0.97279 | 0.97038 | 0.96793 | 0.96553 | 0.9631 | 0.96069 | 0.95827 | 0.95589 | 0.95348 | 0.95112 | 0.94872 | 0.94636 | 0.94398 | 0.94162 | 0.93925 | 0.93692 | 0.93456 | 0.93224 | 0.92989

## Construction
CONSTRUCTION — 24-Month Capex Drawdown, S-Curve, IDC & Sources and Uses
PROJECT HARD CAPEX (from Assumptions — Active scenario)
| Data Centre Capex ($) | 380000000
| Renewable (Solar+BESS) Capex ($) | 103500000
| Total Hard Capex ($) | 483500000
CAPEX S-CURVE DRAWDOWN (formula-driven parabola: weight(t) ∝ t×(25-t), normalised to 100%)
| Month # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| Raw S-Curve Weight [t*(25-t)] | 24 | 46 | 66 | 84 | 100 | 114 | 126 | 136 | 144 | 150 | 154 | 156 | 156 | 154 | 150 | 144 | 136 | 126 | 114 | 100 | 84 | 66 | 46 | 24
| Normalised Draw Weight (%) | 0.9231% | 1.769% | 2.538% | 3.231% | 3.846% | 4.385% | 4.846% | 5.231% | 5.538% | 5.769% | 5.923% | 6% | 6% | 5.923% | 5.769% | 5.538% | 5.231% | 4.846% | 4.385% | 3.846% | 3.231% | 2.538% | 1.769% | 0.9231%
| DC Capex Draw ($) | 3507692.3077 | 6723076.9231 | 9646153.8462 | 12276923.0769 | 14615384.6154 | 16661538.4615 | 18415384.6154 | 19876923.0769 | 21046153.8462 | 21923076.9231 | 22507692.3077 | 22800000 | 22800000 | 22507692.3077 | 21923076.9231 | 21046153.8462 | 19876923.0769 | 18415384.6154 | 16661538.4615 | 14615384.6154 | 12276923.0769 | 9646153.8462 | 6723076.9231 | 3507692.3077
| Renewable Capex Draw ($) | 955384.6154 | 1831153.8462 | 2627307.6923 | 3343846.1538 | 3980769.2308 | 4538076.9231 | 5015769.2308 | 5413846.1538 | 5732307.6923 | 5971153.8462 | 6130384.6154 | 6210000 | 6210000 | 6130384.6154 | 5971153.8462 | 5732307.6923 | 5413846.1538 | 5015769.2308 | 4538076.9231 | 3980769.2308 | 3343846.1538 | 2627307.6923 | 1831153.8462 | 955384.6154
| Total Capex Draw ($) | 4463076.9231 | 8554230.7692 | 12273461.5385 | 15620769.2308 | 18596153.8462 | 21199615.3846 | 23431153.8462 | 25290769.2308 | 26778461.5385 | 27894230.7692 | 28638076.9231 | 29010000 | 29010000 | 28638076.9231 | 27894230.7692 | 26778461.5385 | 25290769.2308 | 23431153.8462 | 21199615.3846 | 18596153.8462 | 15620769.2308 | 12273461.5385 | 8554230.7692 | 4463076.9231
| Cumulative Capex Draw ($) | 4463076.9231 | 13017307.6923 | 25290769.2308 | 40911538.4615 | 59507692.3077 | 80707307.6923 | 104138461.5385 | 129429230.7692 | 156207692.3077 | 184101923.0769 | 212740000 | 241750000 | 270760000 | 299398076.9231 | 327292307.6923 | 354070769.2308 | 379361538.4615 | 402792692.3077 | 423992307.6923 | 442588461.5385 | 458209230.7692 | 470482692.3077 | 479036923.0769 | 483500000
DEBT & EQUITY DRAWDOWN (pro-rata at Target Gearing on Hard Capex; IDC & Fees equity-funded top-up)
| Debt Drawdown ($) [pro-rata at ratio = Final Sculpted Debt / Hard Capex] | 1599134.671 | 3065008.1195 | 4397620.3453 | 5596971.3486 | 6663061.1293 | 7595889.6874 | 8395457.0229 | 9061763.1358 | 9594808.0262 | 9994591.6939 | 10261114.1391 | 10394375.3617 | 10394375.3617 | 10261114.1391 | 9994591.6939 | 9594808.0262 | 9061763.1358 | 8395457.0229 | 7595889.6874 | 6663061.1293 | 5596971.3486 | 4397620.3453 | 3065008.1195 | 1599134.671
| Cumulative Debt Drawn ($) | 1599134.671 | 4664142.7905 | 9061763.1358 | 14658734.4844 | 21321795.6137 | 28917685.3011 | 37313142.324 | 46374905.4599 | 55969713.4861 | 65964305.18 | 76225419.3191 | 86619794.6808 | 97014170.0425 | 107275284.1816 | 117269875.8756 | 126864683.9017 | 135926447.0376 | 144321904.0605 | 151917793.7479 | 158580854.8772 | 164177826.2258 | 168575446.5711 | 171640454.6906 | 173239589.3616
| IDC for Month (on opening cum. debt balance) ($) | 0 | 10327.7448 | 30122.5889 | 58523.8869 | 94670.9935 | 137703.2633 | 186760.0509 | 240980.7108 | 299504.5978 | 361471.0663 | 426019.471 | 492289.1664 | 559419.5073 | 626549.8482 | 692819.5437 | 757367.9484 | 819334.4169 | 877858.3038 | 932078.9637 | 981135.7513 | 1024168.0211 | 1060315.1277 | 1088716.4258 | 1108511.2699
| Cumulative IDC ($) | 0 | 10327.7448 | 40450.3336 | 98974.2205 | 193645.2141 | 331348.4774 | 518108.5283 | 759089.2392 | 1058593.8369 | 1420064.9032 | 1846084.3741 | 2338373.5406 | 2897793.0479 | 3524342.8961 | 4217162.4397 | 4974530.3881 | 5793864.805 | 6671723.1088 | 7603802.0725 | 8584937.8238 | 9609105.8449 | 10669420.9726 | 11758137.3983 | 12866648.6682
| Equity Drawdown ($) [Total draw less Debt Drawdown, plus IDC] | 2863942.252 | 5499550.3945 | 7905963.782 | 10082321.7691 | 12027763.7104 | 13741428.9606 | 15222456.8741 | 16469986.8058 | 17483158.11 | 18261110.1416 | 18802982.2549 | 19107913.8047 | 19175044.1456 | 19003512.6322 | 18592458.619 | 17941021.4606 | 17048340.5118 | 15913555.127 | 14535804.6609 | 12914228.4681 | 11047965.9032 | 8936156.3208 | 6577939.0755 | 3972453.5219
SOURCES AND USES (at COD)
| USES | 2: SOURCES
| Data Centre Capex | 1: 380000000; 2: Senior Debt Drawn; 3: 173239589.3616
| Renewable Capex | 1: 103500000; 2: Equity Contributed (Capex + IDC); 3: 323127059.3066
| Interest During Construction (IDC) | 1: 12866648.6682; 2: Additional Equity — Fees & Initial DSRA; 3: 11491826.9336
| Upfront Financing Fee | 1: 3031692.8138
| Initial DSRA Funding | 1: 8460134.1198
| TOTAL USES | 1: 507858475.6019; 2: TOTAL SOURCES; 3: 507858475.6019
CHECK: Sources = Uses | bar: 1

## Operations
OPERATIONS — Data Centre Revenue, Renewable Generation + BESS, Opex, EBITDA (30 Semi-Annual Periods)
PERIOD REFERENCE
| Period # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Operating Year # | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15
| Escalation Factor | 1 | 1.011 | 1.022 | 1.0333 | 1.0445 | 1.056 | 1.0674 | 1.0792 | 1.0909 | 1.103 | 1.1149 | 1.1272 | 1.1394 | 1.152 | 1.1645 | 1.1773 | 1.1902 | 1.2033 | 1.2163 | 1.2297 | 1.2431 | 1.2568 | 1.2704 | 1.2844 | 1.2984 | 1.3127 | 1.327 | 1.3416 | 1.3561 | 1.3711
| Degradation Factor (Solar) | 1 | 0.99748 | 0.995 | 0.99249 | 0.99003 | 0.98753 | 0.98509 | 0.9826 | 0.98015 | 0.97768 | 0.97525 | 0.97279 | 0.97038 | 0.96793 | 0.96553 | 0.9631 | 0.96069 | 0.95827 | 0.95589 | 0.95348 | 0.95112 | 0.94872 | 0.94636 | 0.94398 | 0.94162 | 0.93925 | 0.93692 | 0.93456 | 0.93224 | 0.92989
DATA CENTRE — UTILISATION & DEMAND
| Utilisation % | 55% | 55% | 75% | 75% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90%
| IT Load (MW) | 22 | 22 | 30 | 30 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
| Facility Load incl. PUE (MW) | 27.5 | 27.5 | 37.5 | 37.5 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
| Facility Energy Demand (MWh) | 120532.5 | 120532.5 | 164362.5 | 164362.5 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235 | 197235
RENEWABLE GENERATION + BESS
| Gross Solar Generation (MWh) | 73332 | 73147.06 | 72965.5903 | 72781.5744 | 72601.0115 | 72417.915 | 72238.2543 | 72056.0726 | 71876.3232 | 71695.0543 | 71517.1869 | 71336.8238 | 71159.8451 | 70980.3832 | 70804.2888 | 70625.7236 | 70449.5423 | 70271.8717 | 70097.5351 | 69920.7522 | 69747.2867 | 69571.3871 | 69398.7883 | 69223.7677 | 69051.0837 | 68876.9399 | 68706.064 | 68532.7904 | 68362.7682 | 68190.3604
| BESS Round-Trip Loss (MWh) | 2199.96 | 2194.4118 | 2188.9677 | 2183.4472 | 2178.0303 | 2172.5374 | 2167.1476 | 2161.6822 | 2156.2897 | 2150.8516 | 2145.5156 | 2140.1047 | 2134.7954 | 2129.4115 | 2124.1287 | 2118.7717 | 2113.4863 | 2108.1562 | 2102.9261 | 2097.6226 | 2092.4186 | 2087.1416 | 2081.9637 | 2076.713 | 2071.5325 | 2066.3082 | 2061.1819 | 2055.9837 | 2050.883 | 2045.7108
| Net Renewable Supply to DC (MWh) | 71132.04 | 70952.6482 | 70776.6226 | 70598.1271 | 70422.9811 | 70245.3775 | 70071.1066 | 69894.3904 | 69720.0335 | 69544.2027 | 69371.6713 | 69196.7191 | 69025.0498 | 68850.9717 | 68680.1602 | 68506.9519 | 68336.056 | 68163.7155 | 67994.609 | 67823.1296 | 67654.8681 | 67484.2455 | 67316.8247 | 67147.0547 | 66979.5512 | 66810.6317 | 66644.8821 | 66476.8066 | 66311.8852 | 66144.6495
| Grid Shortfall (MWh) | 49400.46 | 49579.8518 | 93585.8774 | 93764.3729 | 126812.0189 | 126989.6225 | 127163.8934 | 127340.6096 | 127514.9665 | 127690.7973 | 127863.3287 | 128038.2809 | 128209.9502 | 128384.0283 | 128554.8398 | 128728.0481 | 128898.944 | 129071.2845 | 129240.391 | 129411.8704 | 129580.1319 | 129750.7545 | 129918.1753 | 130087.9453 | 130255.4488 | 130424.3683 | 130590.1179 | 130758.1934 | 130923.1148 | 131090.3505
| Renewable Self-Sufficiency % | 59.01% | 58.87% | 43.06% | 42.95% | 35.71% | 35.62% | 35.53% | 35.44% | 35.35% | 35.26% | 35.17% | 35.08% | 35% | 34.91% | 34.82% | 34.73% | 34.65% | 34.56% | 34.47% | 34.39% | 34.3% | 34.22% | 34.13% | 34.04% | 33.96% | 33.87% | 33.79% | 33.7% | 33.62% | 33.54%
DATA CENTRE REVENUE
| Capacity Revenue — Contracted (Take-or-Pay) ($) | 3774000 | 3815600.7198 | 3856970.5503 | 3899485.8527 | 3941765.1896 | 3985215.1815 | 4028424.0203 | 4072829.2505 | 4117233.3223 | 4162617.4956 | 4207749.7808 | 4254131.715 | 4300256.2235 | 4347657.8542 | 4394796.3997 | 4443240.1448 | 4491682.6259 | 4541194.3457 | 4590431.269 | 4641031.493 | 4691350.8791 | 4743063.5377 | 4794489.1843 | 4847338.7342 | 4900186.9053 | 4954201.5589 | 5007916.4241 | 5063118.5778 | 5118014.3524 | 5174430.1132
| Capacity Revenue — Residual (Spot, utilisation-based) ($) | 366300 | 370337.7169 | 510481.3964 | 516108.4217 | 626045.0595 | 632945.9406 | 639808.5209 | 646861.1163 | 653913.5277 | 661121.6022 | 668289.6711 | 675656.2136 | 682981.8708 | 690510.3651 | 697997.0752 | 705691.0818 | 713384.8876 | 721248.5137 | 729068.4957 | 737105.0018 | 745096.9043 | 753310.0913 | 761477.694 | 769871.446 | 778264.9791 | 786843.777 | 795374.9615 | 804142.3624 | 812861.103 | 821821.2533
| Energy Revenue ($) | 18682537.5 | 18888474.7042 | 26036275.8136 | 26323273.1152 | 31930413.053 | 32282381.3011 | 32632396.0794 | 32992102.271 | 33351799.0779 | 33719435.2331 | 34085030.9597 | 34460749.514 | 34834382.7813 | 35218361.4244 | 35600208.9359 | 35992629.2641 | 36385039.3539 | 36786110.8507 | 37184956.3483 | 37594845.3127 | 38002459.3398 | 38421359.6219 | 38837934.9527 | 39266044.6642 | 39694143.2064 | 40131690.8829 | 40566810.1126 | 41013977.1775 | 41458662.4067 | 41915660.3399
| TOTAL DATA CENTRE REVENUE ($) | 22822837.5 | 23074413.141 | 30403727.7603 | 30738867.3895 | 36498223.3022 | 36900542.4232 | 37300628.6205 | 37711792.6378 | 38122945.9278 | 38543174.3309 | 38961070.4115 | 39390537.4426 | 39817620.8755 | 40256529.6437 | 40693002.4109 | 41141560.4907 | 41590106.8675 | 42048553.7102 | 42504456.113 | 42972981.8075 | 43438907.1232 | 43917733.2509 | 44393901.831 | 44883254.8445 | 45372595.0907 | 45872736.2188 | 46370101.4982 | 46881238.1177 | 47389537.8621 | 47911911.7064
OPERATING COSTS
| Data Centre O&M ($) | 3600000 | 3639682.7216 | 3679145.199 | 3719700.3364 | 3760030.3876 | 3801477.1207 | 3842693.819 | 3885051.7493 | 3927408.5745 | 3970700.3137 | 4013751.7782 | 4057995.2766 | 4101993.2179 | 4147209.3999 | 4192174.6261 | 4238384.8758 | 4284593.9198 | 4331822.9053 | 4378789.7638 | 4427057.068 | 4475056.4824 | 4524384.9326 | 4573439.6035 | 4623852.5287 | 4674264.1386 | 4725788.4504 | 4777026.7956 | 4829683.858 | 4882048.6668 | 4935863.383
| Renewable O&M ($) | 810000 | 818928.6124 | 827807.6698 | 836932.5757 | 846006.8372 | 855332.3522 | 864606.1093 | 874136.6436 | 883666.9293 | 893407.5706 | 903094.1501 | 913048.9372 | 922948.474 | 933122.115 | 943239.2909 | 953636.597 | 964033.632 | 974660.1537 | 985227.6968 | 996087.8403 | 1006887.7085 | 1017986.6098 | 1029023.9108 | 1040366.819 | 1051709.4312 | 1063302.4013 | 1074831.029 | 1086678.8681 | 1098460.95 | 1110569.2612
| Land Lease & Security ($) | 175000 | 176929.0212 | 178847.3361 | 180818.7664 | 182779.255 | 184794.0267 | 186797.6162 | 188856.6823 | 190915.6946 | 193020.1541 | 195112.9337 | 197263.6593 | 199402.4481 | 201600.4569 | 203786.2665 | 206032.5981 | 208278.8711 | 210574.7246 | 212857.8357 | 215204.163 | 217537.4679 | 219935.3787 | 222319.9807 | 224770.609 | 227221.1734 | 229725.8275 | 232216.5803 | 234776.2987 | 237321.8102 | 239937.8033
| Grid Backup / Top-Up Cost ($) | 6916064.4 | 7017691.724 | 13390067.8889 | 13563486.5822 | 18542885.0627 | 18773538.9508 | 19003129.719 | 19239300.0329 | 19475686.7228 | 19717517.9061 | 19958231.3325 | 20205839.8603 | 20452302.3544 | 20705823.0167 | 20958168.6845 | 21217739.3662 | 21477541.2334 | 21743320.1426 | 22007863.9337 | 22279978.598 | 22550827.0305 | 22829425.0554 | 23106724.9839 | 23391957.3604 | 23677436.7409 | 23969476.7369 | 24260152.4913 | 24559139.7238 | 24856728.4878 | 25162824.5816
| TOTAL OPERATING COSTS ($) | 11501064.4 | 11653232.0792 | 18075868.0938 | 18300938.2607 | 23331701.5424 | 23615142.4503 | 23897227.2635 | 24187345.1081 | 24477677.9212 | 24774645.9445 | 25070190.1945 | 25374147.7334 | 25676646.4944 | 25987754.9885 | 26297368.868 | 26615793.4372 | 26934447.6562 | 27260377.9262 | 27584739.2301 | 27918327.6694 | 28250308.6894 | 28591731.9765 | 28931508.4789 | 29280947.317 | 29630631.4841 | 29988293.4162 | 30344226.8963 | 30710278.7485 | 31074559.9149 | 31449195.0292
EBITDA
| EBITDA ($) | 11321773.1 | 11421181.0617 | 12327859.6665 | 12437929.1288 | 13166521.7598 | 13285399.9728 | 13403401.357 | 13524447.5297 | 13645268.0066 | 13768528.3864 | 13890880.2171 | 14016389.7091 | 14140974.3811 | 14268774.6552 | 14395633.5429 | 14525767.0535 | 14655659.2113 | 14788175.784 | 14919716.8829 | 15054654.1381 | 15188598.4338 | 15326001.2743 | 15462393.352 | 15602307.5275 | 15741963.6066 | 15884442.8026 | 16025874.6019 | 16170959.3692 | 16314977.9472 | 16462716.6772

## Debt & Financing
DEBT & FINANCING — Tax, CFADS, Sculpted Senior Debt (Target 1.35x Min DSCR, capped at 65% Gearing)
PERIOD REFERENCE & TAX
| Period # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| EBITDA ($) | 11321773.1 | 11421181.0617 | 12327859.6665 | 12437929.1288 | 13166521.7598 | 13285399.9728 | 13403401.357 | 13524447.5297 | 13645268.0066 | 13768528.3864 | 13890880.2171 | 14016389.7091 | 14140974.3811 | 14268774.6552 | 14395633.5429 | 14525767.0535 | 14655659.2113 | 14788175.784 | 14919716.8829 | 15054654.1381 | 15188598.4338 | 15326001.2743 | 15462393.352 | 15602307.5275 | 15741963.6066 | 15884442.8026 | 16025874.6019 | 16170959.3692 | 16314977.9472 | 16462716.6772
| Tax Depreciation — Data Centre ($) | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 17272727.2727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tax Depreciation — Renewable ($) | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 4312500 | 0 | 0 | 0 | 0 | 0 | 0
| Taxable Income (EBITDA less Tax Dep.) ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11149893.352 | 11289807.5275 | 15741963.6066 | 15884442.8026 | 16025874.6019 | 16170959.3692 | 16314977.9472 | 16462716.6772
| Cash Tax ($) [Circularity breaker: excl. interest deductibility] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2787473.338 | 2822451.8819 | 3935490.9017 | 3971110.7006 | 4006468.6505 | 4042739.8423 | 4078744.4868 | 4115679.1693
| CFADS — Pre-Financing ($) | 11321773.1 | 11421181.0617 | 12327859.6665 | 12437929.1288 | 13166521.7598 | 13285399.9728 | 13403401.357 | 13524447.5297 | 13645268.0066 | 13768528.3864 | 13890880.2171 | 14016389.7091 | 14140974.3811 | 14268774.6552 | 14395633.5429 | 14525767.0535 | 14655659.2113 | 14788175.784 | 14919716.8829 | 15054654.1381 | 15188598.4338 | 15326001.2743 | 12674920.014 | 12779855.6456 | 11806472.705 | 11913332.1019 | 12019405.9514 | 12128219.5269 | 12236233.4604 | 12347037.5079
DEBT SIZING (non-circular: CFADS is pre-financing, so sculpted capacity is independent of debt)
| Semi-Annual Interest Rate | 1: 3.875%
| Target DSCR | 1: 1.35
| DSCR-Sculpted Debt Capacity ($) [PV of CFADS/TargetDSCR @ interest rate] | 1: 173239589.3616
| Gearing Cap ($) [65% x Hard Capex] | 1: 314275000
| FINAL DEBT SIZE ($) [MIN of the two] | 1: 173239589.3616
| Binding Constraint | 1: DSCR Sculpting
| Actual Gearing (Debt / Hard Capex) | 1: 35.83%
SCULPTED AMORTISATION SCHEDULE
| Opening Balance ($) | 173239589.3616 | 171566124.8568 | 169754178.0752 | 167200404.5745 | 164466139.4156 | 161086223.2366 | 157487277.3701 | 153661463.9186 | 149597736.3641 | 145287042.7174 | 140718005.7069 | 135881287.5265 | 130764176.5225 | 125356492.5249 | 119644593.9027 | 113617389.6625 | 107260236.0649 | 100560526.3522 | 93503042.4639 | 86074643.2239 | 78258439.9909 | 70040140.8859 | 61401602.8087 | 54392085.2775 | 47033218.8445 | 40110220.7377 | 32839801.3454 | 25209079.9799 | 17202065.5129 | 8804768.9141
| Interest ($) | 6713034.0878 | 6648187.3382 | 6577974.4004 | 6479015.6773 | 6373062.9024 | 6242091.1504 | 6102631.9981 | 5954381.7268 | 5796912.2841 | 5629872.9053 | 5452822.7211 | 5265399.8917 | 5067111.8402 | 4857564.0853 | 4636228.0137 | 4402673.8494 | 4156334.1475 | 3896720.3961 | 3623242.8955 | 3335392.4249 | 3032514.5496 | 2714055.4593 | 2379312.1088 | 2107693.3045 | 1822537.2302 | 1554271.0536 | 1272542.3021 | 976851.8492 | 666580.0386 | 341184.7954
| Target Debt Service (CFADS/TargetDSCR) ($) | 8386498.5926 | 8460134.1198 | 9131747.9011 | 9213280.8362 | 9752979.0814 | 9841037.0169 | 9928445.4496 | 10018109.2813 | 10107605.9308 | 10198909.9159 | 10289540.9015 | 10382510.8957 | 10474795.8378 | 10569462.7075 | 10663432.254 | 10759827.447 | 10856043.8602 | 10954204.2844 | 11051642.1355 | 11151595.6579 | 11250813.6547 | 11352593.5365 | 9388829.64 | 9466559.7375 | 8745535.337 | 8824690.4459 | 8903263.6677 | 8983866.3162 | 9063876.6373 | 9145953.7096
| Scheduled Principal ($) | 1673464.5048 | 1811946.7816 | 2553773.5007 | 2734265.1589 | 3379916.179 | 3598945.8665 | 3825813.4515 | 4063727.5544 | 4310693.6467 | 4569037.0106 | 4836718.1804 | 5117111.004 | 5407683.9976 | 5711898.6222 | 6027204.2402 | 6357153.5976 | 6699709.7127 | 7057483.8883 | 7428399.24 | 7816203.2329 | 8218299.105 | 8638538.0772 | 7009517.5312 | 7358866.433 | 6922998.1068 | 7270419.3923 | 7630721.3656 | 8007014.467 | 8397296.5987 | 8804768.9141
| Total Debt Service ($) | 8386498.5926 | 8460134.1198 | 9131747.9011 | 9213280.8362 | 9752979.0814 | 9841037.0169 | 9928445.4496 | 10018109.2813 | 10107605.9308 | 10198909.9159 | 10289540.9015 | 10382510.8957 | 10474795.8378 | 10569462.7075 | 10663432.254 | 10759827.447 | 10856043.8602 | 10954204.2844 | 11051642.1355 | 11151595.6579 | 11250813.6547 | 11352593.5365 | 9388829.64 | 9466559.7375 | 8745535.337 | 8824690.4459 | 8903263.6677 | 8983866.3162 | 9063876.6373 | 9145953.7096
| Closing Balance ($) | 171566124.8568 | 169754178.0752 | 167200404.5745 | 164466139.4156 | 161086223.2366 | 157487277.3701 | 153661463.9186 | 149597736.3641 | 145287042.7174 | 140718005.7069 | 135881287.5265 | 130764176.5225 | 125356492.5249 | 119644593.9027 | 113617389.6625 | 107260236.0649 | 100560526.3522 | 93503042.4639 | 86074643.2239 | 78258439.9909 | 70040140.8859 | 61401602.8087 | 54392085.2775 | 47033218.8445 | 40110220.7377 | 32839801.3454 | 25209079.9799 | 17202065.5129 | 8804768.9141 | 0
| DSCR (CFADS / Debt Service) | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35
CHECK: Final Closing Balance = 0 | bar: 1
CHECK: Min DSCR >= Target | bar: 1
DSRA (6 MONTHS FORWARD DEBT SERVICE)
| DSRA Target (next period DS) ($) | 8460134.1198 | 9131747.9011 | 9213280.8362 | 9752979.0814 | 9841037.0169 | 9928445.4496 | 10018109.2813 | 10107605.9308 | 10198909.9159 | 10289540.9015 | 10382510.8957 | 10474795.8378 | 10569462.7075 | 10663432.254 | 10759827.447 | 10856043.8602 | 10954204.2844 | 11051642.1355 | 11151595.6579 | 11250813.6547 | 11352593.5365 | 9388829.64 | 9466559.7375 | 8745535.337 | 8824690.4459 | 8903263.6677 | 8983866.3162 | 9063876.6373 | 9145953.7096 | 0
| Initial DSRA Funding at COD ($) | 1: 8460134.1198

## Cash Flow Waterfall
CASH FLOW WATERFALL — Standard Priority of Payments (30 Semi-Annual Periods)
| Period # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1. OPERATING CASH FLOW
| Data Centre Revenue ($) | 22822837.5 | 23074413.141 | 30403727.7603 | 30738867.3895 | 36498223.3022 | 36900542.4232 | 37300628.6205 | 37711792.6378 | 38122945.9278 | 38543174.3309 | 38961070.4115 | 39390537.4426 | 39817620.8755 | 40256529.6437 | 40693002.4109 | 41141560.4907 | 41590106.8675 | 42048553.7102 | 42504456.113 | 42972981.8075 | 43438907.1232 | 43917733.2509 | 44393901.831 | 44883254.8445 | 45372595.0907 | 45872736.2188 | 46370101.4982 | 46881238.1177 | 47389537.8621 | 47911911.7064
| Less: Operating Costs ($) | 11501064.4 | 11653232.0792 | 18075868.0938 | 18300938.2607 | 23331701.5424 | 23615142.4503 | 23897227.2635 | 24187345.1081 | 24477677.9212 | 24774645.9445 | 25070190.1945 | 25374147.7334 | 25676646.4944 | 25987754.9885 | 26297368.868 | 26615793.4372 | 26934447.6562 | 27260377.9262 | 27584739.2301 | 27918327.6694 | 28250308.6894 | 28591731.9765 | 28931508.4789 | 29280947.317 | 29630631.4841 | 29988293.4162 | 30344226.8963 | 30710278.7485 | 31074559.9149 | 31449195.0292
| EBITDA ($) | 11321773.1 | 11421181.0617 | 12327859.6665 | 12437929.1288 | 13166521.7598 | 13285399.9728 | 13403401.357 | 13524447.5297 | 13645268.0066 | 13768528.3864 | 13890880.2171 | 14016389.7091 | 14140974.3811 | 14268774.6552 | 14395633.5429 | 14525767.0535 | 14655659.2113 | 14788175.784 | 14919716.8829 | 15054654.1381 | 15188598.4338 | 15326001.2743 | 15462393.352 | 15602307.5275 | 15741963.6066 | 15884442.8026 | 16025874.6019 | 16170959.3692 | 16314977.9472 | 16462716.6772
| Less: Cash Tax ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2787473.338 | 2822451.8819 | 3935490.9017 | 3971110.7006 | 4006468.6505 | 4042739.8423 | 4078744.4868 | 4115679.1693
| CFADS ($) | 11321773.1 | 11421181.0617 | 12327859.6665 | 12437929.1288 | 13166521.7598 | 13285399.9728 | 13403401.357 | 13524447.5297 | 13645268.0066 | 13768528.3864 | 13890880.2171 | 14016389.7091 | 14140974.3811 | 14268774.6552 | 14395633.5429 | 14525767.0535 | 14655659.2113 | 14788175.784 | 14919716.8829 | 15054654.1381 | 15188598.4338 | 15326001.2743 | 12674920.014 | 12779855.6456 | 11806472.705 | 11913332.1019 | 12019405.9514 | 12128219.5269 | 12236233.4604 | 12347037.5079
2. SENIOR DEBT SERVICE
| Less: Senior Debt Service (Interest + Principal) ($) | 8386498.5926 | 8460134.1198 | 9131747.9011 | 9213280.8362 | 9752979.0814 | 9841037.0169 | 9928445.4496 | 10018109.2813 | 10107605.9308 | 10198909.9159 | 10289540.9015 | 10382510.8957 | 10474795.8378 | 10569462.7075 | 10663432.254 | 10759827.447 | 10856043.8602 | 10954204.2844 | 11051642.1355 | 11151595.6579 | 11250813.6547 | 11352593.5365 | 9388829.64 | 9466559.7375 | 8745535.337 | 8824690.4459 | 8903263.6677 | 8983866.3162 | 9063876.6373 | 9145953.7096
| Cash Flow after Debt Service ($) | 2935274.5074 | 2961046.9419 | 3196111.7654 | 3224648.2927 | 3413542.6785 | 3444362.9559 | 3474955.9074 | 3506338.2484 | 3537662.0758 | 3569618.4705 | 3601339.3155 | 3633878.8135 | 3666178.5432 | 3699311.9476 | 3732201.2889 | 3765939.6065 | 3799615.3511 | 3833971.4995 | 3868074.7474 | 3903058.4803 | 3937784.7791 | 3973407.7378 | 3286090.374 | 3313295.9081 | 3060937.368 | 3088641.6561 | 3116142.2837 | 3144353.2107 | 3172356.8231 | 3201083.7983
| DSCR (CFADS / Debt Service) | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35
3. RESERVES
| Less: DSRA Funding / Add: DSRA Release ($) | 0 | 671613.7813 | 81532.9351 | 539698.2452 | 88057.9356 | 87408.4327 | 89663.8317 | 89496.6495 | 91303.985 | 90630.9857 | 92969.9941 | 92284.9422 | 94666.8697 | 93969.5465 | 96395.193 | 96216.4132 | 98160.4242 | 97437.8511 | 99953.5224 | 99217.9968 | 101779.8818 | -1963763.8965 | 77730.0975 | -721024.4005 | 79155.1089 | 78573.2218 | 80602.6485 | 80010.3211 | 82077.0722 | -9145953.7096
| Less: Augmentation Reserve Contribution ($) | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000
| Less: Augmentation Capex Shortfall ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9660000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. DISTRIBUTABLE CASH FLOW
| Cash Available for Distribution ($) | 2245274.5074 | 1599433.1606 | 2424578.8303 | 1994950.0475 | 2635484.7429 | 2666954.5232 | 2695292.0757 | 2726841.5989 | 2756358.0907 | 2788987.4849 | 2818369.3214 | 2851593.8713 | 2881511.6736 | 2915342.4012 | 2945806.0958 | 0 | 3011454.9269 | 3046533.6485 | 3078121.2251 | 3113840.4834 | 3146004.8973 | 5247171.6343 | 2518360.2765 | 3344320.3086 | 2291782.2591 | 2320068.4342 | 2345539.6352 | 2374342.8895 | 2400279.7509 | 11657037.5079
| Equity Distribution ($) | 2245274.5074 | 1599433.1606 | 2424578.8303 | 1994950.0475 | 2635484.7429 | 2666954.5232 | 2695292.0757 | 2726841.5989 | 2756358.0907 | 2788987.4849 | 2818369.3214 | 2851593.8713 | 2881511.6736 | 2915342.4012 | 2945806.0958 | 0 | 3011454.9269 | 3046533.6485 | 3078121.2251 | 3113840.4834 | 3146004.8973 | 5247171.6343 | 2518360.2765 | 3344320.3086 | 2291782.2591 | 2320068.4342 | 2345539.6352 | 2374342.8895 | 2400279.7509 | 11657037.5079
CHECK: No Negative Cash Anywhere | bar: 1

## Reserves
RESERVES — DSRA (6 Months Forward Debt Service) & BESS Augmentation Reserve
PERIOD REFERENCE
| Period # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
DEBT SERVICE RESERVE ACCOUNT (DSRA)
| DSRA Opening Balance ($) | 8460134.1198 | 8460134.1198 | 9131747.9011 | 9213280.8362 | 9752979.0814 | 9841037.0169 | 9928445.4496 | 10018109.2813 | 10107605.9308 | 10198909.9159 | 10289540.9015 | 10382510.8957 | 10474795.8378 | 10569462.7075 | 10663432.254 | 10759827.447 | 10856043.8602 | 10954204.2844 | 11051642.1355 | 11151595.6579 | 11250813.6547 | 11352593.5365 | 9388829.64 | 9466559.7375 | 8745535.337 | 8824690.4459 | 8903263.6677 | 8983866.3162 | 9063876.6373 | 9145953.7096
| DSRA Target Balance ($) | 8460134.1198 | 9131747.9011 | 9213280.8362 | 9752979.0814 | 9841037.0169 | 9928445.4496 | 10018109.2813 | 10107605.9308 | 10198909.9159 | 10289540.9015 | 10382510.8957 | 10474795.8378 | 10569462.7075 | 10663432.254 | 10759827.447 | 10856043.8602 | 10954204.2844 | 11051642.1355 | 11151595.6579 | 11250813.6547 | 11352593.5365 | 9388829.64 | 9466559.7375 | 8745535.337 | 8824690.4459 | 8903263.6677 | 8983866.3162 | 9063876.6373 | 9145953.7096 | 0
| DSRA Funding / (Release) ($) | 0 | 671613.7813 | 81532.9351 | 539698.2452 | 88057.9356 | 87408.4327 | 89663.8317 | 89496.6495 | 91303.985 | 90630.9857 | 92969.9941 | 92284.9422 | 94666.8697 | 93969.5465 | 96395.193 | 96216.4132 | 98160.4242 | 97437.8511 | 99953.5224 | 99217.9968 | 101779.8818 | -1963763.8965 | 77730.0975 | -721024.4005 | 79155.1089 | 78573.2218 | 80602.6485 | 80010.3211 | 82077.0722 | -9145953.7096
| DSRA Closing Balance ($) | 8460134.1198 | 9131747.9011 | 9213280.8362 | 9752979.0814 | 9841037.0169 | 9928445.4496 | 10018109.2813 | 10107605.9308 | 10198909.9159 | 10289540.9015 | 10382510.8957 | 10474795.8378 | 10569462.7075 | 10663432.254 | 10759827.447 | 10856043.8602 | 10954204.2844 | 11051642.1355 | 11151595.6579 | 11250813.6547 | 11352593.5365 | 9388829.64 | 9466559.7375 | 8745535.337 | 8824690.4459 | 8903263.6677 | 8983866.3162 | 9063876.6373 | 9145953.7096 | 0
BESS AUGMENTATION RESERVE (mid-life augmentation event)
| Augmentation Reserve Opening ($) | 0 | 690000 | 1380000 | 2070000 | 2760000 | 3450000 | 4140000 | 4830000 | 5520000 | 6210000 | 6900000 | 7590000 | 8280000 | 8970000 | 9660000 | 10350000 | 0 | 690000 | 1380000 | 2070000 | 2760000 | 3450000 | 4140000 | 4830000 | 5520000 | 6210000 | 6900000 | 7590000 | 8280000 | 8970000
| Periodic Contribution ($) | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000 | 690000
| Augmentation Capex Drawn ($) [one-off, target period] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11040000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Augmentation Shortfall (funded from distributable cash) ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9660000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Augmentation Reserve Closing ($) | 690000 | 1380000 | 2070000 | 2760000 | 3450000 | 4140000 | 4830000 | 5520000 | 6210000 | 6900000 | 7590000 | 8280000 | 8970000 | 9660000 | 10350000 | 0 | 690000 | 1380000 | 2070000 | 2760000 | 3450000 | 4140000 | 4830000 | 5520000 | 6210000 | 6900000 | 7590000 | 8280000 | 8970000 | 9660000

## Outputs & Dashboard
OUTPUTS & DASHBOARD — Equity Returns and Key Credit Metrics
Active Scenario: Base Case
HEADLINE METRICS (feed Cover tiles — do not move these rows)
| Equity IRR | -11.52%
| Equity NPV @ Discount Rate ($) | -268842064.4494
| Equity Multiple (x) | 0.2655
| Minimum DSCR (x) | 1.35
| Average DSCR (x) | 1.35
| Actual Gearing (%) | 35.83%
| Total Project Cost ($) | 507858475.6019
| COD | 2028-07-01
EQUITY CASH FLOW (Construction monthly outflows -> Operating semi-annual distributions)
Date | time axis 2026-07-01 to 2043-06-30
| Equity Cash Flow ($) | -2863942.252 | -5499550.3945 | -7905963.782 | -10082321.7691 | -12027763.7104 | -13741428.9606 | -15222456.8741 | -16469986.8058 | -17483158.11 | -18261110.1416 | -18802982.2549 | -19107913.8047 | -19175044.1456 | -19003512.6322 | -18592458.619 | -17941021.4606 | -17048340.5118 | -15913555.127 | -14535804.6609 | -12914228.4681 | -11047965.9032 | -8936156.3208 | -6577939.0755 | -15464280.4556 | 2245274.5074 | 1599433.1606 | 2424578.8303 | 1994950.0475 | 2635484.7429 | 2666954.5232 | 2695292.0757 | 2726841.5989 | 2756358.0907 | 2788987.4849 | 2818369.3214 | 2851593.8713 | 2881511.6736 | 2915342.4012 | 2945806.0958 | 0 | 3011454.9269 | 3046533.6485 | 3078121.2251 | 3113840.4834 | 3146004.8973 | 5247171.6343 | 2518360.2765 | 3344320.3086 | 2291782.2591 | 2320068.4342 | 2345539.6352 | 2374342.8895 | 2400279.7509 | 11657037.5079
Equity Discount Rate (link)
12%

## Sensitivities & Scenarios
SENSITIVITIES & SCENARIOS
SCENARIO COMPARISON (live — set Cover!B7 to each case and this table updates)
| Metric | Current Active Scenario
| Equity IRR | -11.52%
| Equity NPV @12% ($) | -268842064.4494
| Equity Multiple (x) | 0.2655
| Min DSCR (x) | 1.35
| Actual Gearing (%) | 35.83%
| Total Project Cost ($) | 507858475.6019
Note: to capture all three cases simultaneously, set Cover!B7 to Base/Best/Worst in turn and
record the values above (or use Excel Scenario Manager / a data table keyed to Cover!B7).
ONE-WAY SENSITIVITY — Equity IRR vs. Interest Rate Shock (Active Scenario baseline)
| Interest Rate Shock | Approx. Equity IRR Impact*
| -2% | -10.87%
| -1% | -11.19%
| 0% | -11.52%
| 1% | -11.84%
| 2% | -12.16%
*Indicative approximation: IRR impact ≈ Actual Gearing × 0.9 × Rate Shock. For precision, set
Assumptions!D40/E40 (Best/Worst rate) directly and switch the scenario selector.
ONE-WAY SENSITIVITY — Equity IRR vs. Capex Shock (Active Scenario baseline)
| Capex Shock (%) | Approx. Equity IRR Impact*
| -10% | 4.484%
| -5% | -3.516%
| 0% | -11.52%
| 5% | -19.52%
| 10% | -27.52%
*Indicative approximation: since equity absorbs ~64% of capex at Base Case gearing, a capex shock
translates roughly 1.6x into equity IRR (elasticity approximation, documented).
For precise (non-approximated) sensitivities: overwrite the relevant Base-case cell(s) on the
Assumptions sheet directly and read the updated Outputs & Dashboard metrics — the entire model recalculates live.

## Checks-Audit
CHECKS / AUDIT — Lender-Style Model Integrity Checks
Active Scenario: Base Case
| Check | Result | Detail
| Sources = Uses (Construction) | OK | Total Uses must equal Total Sources at COD
| Debt fully repaid by maturity | OK | Closing balance in final operating period (P30) = 0
| Minimum DSCR >= Target (1.35x) | OK | Every period DSCR checked against Assumptions target
| No negative distributable cash | OK | Cash Available for Distribution >= 0 in every period
| Circularity converged (breaker engaged) | OK (breaker ON — non-circular) | Tax calculated pre-interest-deduction to keep the model fully non-circular without requiring Excel iterative calculation
| Timing consistency: COD = Construction Start + 24mo | OK | Confirms the 24-month construction period lands exactly on the 1-Jul-2028 target COD
| Debt tenor = 15 years (30 semi-annual periods) | OK | 30 periods x 6 months spans the 15-year tenor
| Actual gearing vs 65% target | 35.83% | FYI — see note below; DSCR sculpting is the binding constraint at Base Case, not the 65% gearing cap
| Scenario switcher live (Cover -> Assumptions -> all sheets) | OK | Assumptions!Active columns key off Cover!B7 via INDEX/MATCH; every calc sheet reads only the Active column
| No hidden hard-coded values in calc sheets | OK — see Note 1 below | All economic inputs live on Assumptions (blue font); calc sheets contain formulas only, with modelling-convention constants (e.g. day-count, S-curve shape) documented inline
| MASTER STATUS | ALL CHECKS PASS
NOTES ON MODEL DESIGN & KEY FINDINGS
1. Modelling constants disclosed here (not scenario-driven, but documented): semi-annual period length = 182.625 days; construction S-curve is a formula-driven parabola t*(25-t) normalised to 100% (not a hardcoded profile); BESS cycled-share of generation = 30%; BESS augmentation = 20% of RE capex at operating period 16 (~Year 8); Energy Charge ($0.155/kWh) and Grid Backup Price ($0.14-0.16/kWh) were set by the modeller (not specified in the brief) at a level consistent with the brief's instruction to price energy at "renewable supply cost plus margin" — these are Assumptions-sheet inputs and should be replaced with contracted/quoted figures when available.
2. CIRCULARITY: True lender models make cash tax circular (interest is tax-deductible, which affects CFADS, which affects debt sizing, which affects interest). This model uses a Circularity Breaker (Assumptions, "Circularity Breaker" row, default = 1 / ON) so it calculates reliably without requiring Excel's iterative-calculation setting. With the breaker ON, tax is calculated on EBITDA less tax depreciation only (interest is not tax-deductible in the model). To run the fully circular, interest-tax-shielded version: set the breaker to 0, enable File > Options > Formulas > Enable Iterative Calculation in Excel, and update the tax formula on the Debt & Financing sheet to deduct interest.
3. KEY FINDING — BASE CASE ECONOMICS: Under the Base Case, DSCR-based debt sculpting (not the 65% gearing target) is the binding constraint — CFADS supports only ~36% actual gearing at a 1.35x minimum DSCR, well below the 65% target. This pushes a much larger share of the $508m Total Project Cost onto equity, and combined with the renewable system's modest self-sufficiency (~35-59%, since a 60 MWh / 4-hour BESS cannot firm a 90 MWp solar array against a continuous 24/7, 40 MW IT load), Base Case equity IRR is negative. This is a genuine output of the assumptions as specified, not a modelling error — see Sensitivities & Scenarios and Outputs & Dashboard. Levers most likely to restore bankability: a higher energy/capacity charge, a larger BESS (more hours of storage), additional firm capacity (grid PPA or gas peaker) to reduce the grid-backup cost drag, or lower capex.
4. WATERFALL PRIORITY (confirmed correct): Revenue -> Operating Costs -> EBITDA -> Cash Tax -> CFADS -> Senior Debt Service -> DSRA funding/release -> BESS Augmentation Reserve contribution/shortfall -> Cash Available for Distribution -> Equity Distribution. This matches standard project-finance priority of payments.
5. DUAL-ASSET (DATA CENTRE + RENEWABLE) LOGIC (confirmed correct): the Operations sheet integrates both assets every period — renewable generation nets against BESS round-trip losses to produce Net Renewable Supply; this is compared to Data Centre facility demand (IT load x PUE) to derive self-sufficiency %, grid shortfall (MWh) and the associated grid backup cost. Capex, O&M, and tax depreciation are tracked separately by asset (Data Centre vs Renewable) throughout Construction and Debt & Financing.
6. LIVE SCENARIO SWITCHER (confirmed correct): a single input cell (Cover!B7, data-validated to Base/Best/Worst) drives every Assumptions!Active-column formula via INDEX/MATCH; every calculation sheet in the model references only the Active column, so switching Cover!B7 recalculates the entire model — generation, revenue, debt sculpting, ratios and returns — with no duplicated logic.

## Appendix-Glossary
APPENDIX — GLOSSARY & DEFINITIONS
A. TECHNICAL / MODELLING TERMS
| CFADS | Cash Flow Available for Debt Service — cash generated by the project before debt service, calculated here as EBITDA less cash tax.
| DSCR | Debt Service Coverage Ratio — CFADS divided by total debt service (interest + principal) in a period. This model sculpts principal repayments so DSCR equals the 1.35x target in every period.
| LLCR | Loan Life Coverage Ratio — the present value of CFADS over the remaining debt tenor, divided by the outstanding debt balance. Indicates coverage across the whole loan life rather than a single period.
| PLCR | Project Life Coverage Ratio — the present value of CFADS over the remaining project/contract life, divided by outstanding debt. Broader than LLCR as it extends beyond the debt tenor.
| IDC | Interest During Construction — interest accrued on drawn debt before COD, capitalised into the project cost rather than paid in cash.
| DSRA | Debt Service Reserve Account — a cash reserve (here, 6 months forward debt service) held to cover a shortfall in debt service if CFADS is temporarily insufficient.
| Debt Sculpting | Structuring principal repayments so debt service tracks available cash flow (rather than a flat annuity), maximising debt capacity while holding DSCR at the target level throughout.
| PUE | Power Usage Effectiveness — total facility power divided by IT equipment power. A PUE of 1.25 means 1.25 kW is drawn from the grid/on-site generation for every 1 kW delivered to IT load.
| IT Load / IT Capacity | The power capacity available to run servers and IT equipment, excluding cooling and other facility overhead (measured separately from total facility power via PUE).
| Utilisation | The share of contracted/available IT capacity actually in use by customers in a given period; ramps from 55% (Year 1) to 90% (Year 3+) in the Base Case.
| Specific Yield | Annual energy generated per unit of installed solar capacity (kWh/kWp/year) — a measure of solar resource quality and system efficiency at the site.
| BESS Round-Trip Efficiency | The percentage of energy retrieved from a battery relative to the energy used to charge it; the balance is lost as heat/conversion losses across a charge-discharge cycle.
| Circularity | A situation where a formula depends (directly or indirectly) on its own output — e.g., interest expense affecting tax, which affects cash flow, which affects debt sizing, which affects interest. This model uses a circularity breaker to avoid it (see Checks-Audit).
| Gearing | The proportion of total project cost funded by debt (as opposed to equity); expressed as Debt / (Debt + Equity) or Debt / Total Project Cost.
| Degradation | The gradual decline in solar panel output over time, typically ~0.5% per year, due to material and environmental wear.
| Curtailment / Clipping | Generation that is not exported/used because it exceeds inverter, grid, or off-take capacity at that moment; modelled as a flat % haircut to gross generation.
| S-Curve (Capex Drawdown) | A non-linear spend profile over the construction period — slow at the start and end, faster in the middle — reflecting typical mobilisation, peak construction, and commissioning phases.
B. NON-TECHNICAL / COMMERCIAL TERMS
| Take-or-Pay | A contract structure where the customer commits to pay for contracted capacity whether or not they actually use it — provides revenue certainty to the project (85% of IT capacity here).
| Capacity Charge | A fixed monthly fee per kW of contracted data centre capacity, charged regardless of actual power draw — analogous to a reservation fee.
| Hyperscale | Very large-scale cloud/data centre operators (e.g. major cloud providers) whose facilities and demand requirements are designed to scale rapidly to very large capacities.
| Colocation | A data centre model where a facility owner rents rack space, power, and cooling to multiple customers, as distinct from a single-tenant or hyperscale-dedicated facility.
| Behind-the-Meter | On-site power generation that supplies a facility directly, without passing through the public grid meter — the dedicated solar+BESS system here supplies the data centre directly.
| COD | Commercial Operation Date — the date the project is deemed complete and begins commercial operations (targeted 1 July 2028 here), marking the transition from construction to operations.
| SPV | Special Purpose Vehicle — a standalone legal entity created to own, finance, and operate the project, isolating project risk from its sponsors.
| Limited Recourse | A financing structure where lenders can only claim against the project's assets and cash flows (via the SPV), not the sponsors' broader balance sheet, in the event of default.
| Senior Debt | Debt that ranks first in priority of repayment ahead of other capital (e.g. subordinated debt or equity) — the debt sculpted in this model.
| Equity IRR | Internal Rate of Return to equity investors — the discount rate at which the net present value of all equity cash flows (investment out, distributions in) equals zero.
| Equity Multiple | Total cash distributed to equity divided by total equity invested, over the life of the investment — a simple (non-time-weighted) measure of return.
| Sources & Uses | A summary table reconciling how much money is needed for the project (Uses: capex, IDC, fees, reserves) against where it comes from (Sources: debt, equity).
| Offtake / Offtaker | The contractual arrangement (and counterparty) committing to purchase the project's output/capacity — here, data centre customers under 15-year contracts.
| Upfront Fee | A one-off fee paid to lenders (as a % of the facility amount) at financial close, in addition to the ongoing interest rate.
| Investment Grade Counterparty | A customer or counterparty rated at a credit quality considered low-risk by rating agencies, reducing offtake/counterparty risk for lenders.

## Charts
CHARTS — Revenue Build, DSCR Profile, Generation Mix, Equity Cash Flow